February 24

Motion Planning in Rviz

*** MAKE SURE YOU HAVE ros-melodic-ros-controllers installed
sudo apt install ros-melodic-ros-controllers

change controllers.yaml to

controller_list:
 - name: /vel_based_pos_traj_controller #or /pos_based_pos_traj_controller
   action_ns: follow_joint_trajectory
   type: FollowJointTrajectory
   default: true
   joints:
      - shoulder_pan_joint
      - shoulder_lift_joint
      - elbow_joint
      - wrist_1_joint
      - wrist_2_joint
      - wrist_3_joint

Terminal for robot movement

$ cd catkin_cb2
$ source devel/setup.bash
$ roslaunch ur_modern_driver ur5_ros_control.launch robot_ip:=172.22.22.2
$ roslaunch ur5_moveit_config ur5_moveit_planning_execution.launch
$ roslaunch ur5_moveit_config moveit_rviz.launch config:=true

updated March 13, all in one script
$ roslaunch ur_modern_driver ur5_ros_control_moveit_rviz.launch robot_ip:=172.22.22.2

March 1

Dependencies:
- ros-melodic-ros-controllers
- ros-melodic-rosbash

March 3

Packages added to workspace:
- robot_state_publisher
- urdf
To get transformation btwn base and controller: rosrun tf tf_echo base_link tool0_controller

March 13
Importing camera calibration files

import <Generated File Name>.yaml and rename to 0.yaml
cd /home/<username>/.ros
mkdir camera_info
cd directory with 0.yaml
cp 0.yaml /home/<username>/.ros/camera_info

March 29

Tutorial launch file
<launch>

  <node name="move_group_interface_tutorial" pkg="moveit_tutorials" type="move_group_interface_tutorial" respawn="false" output="screen">
  </node>

</launch>

node name: node name – can be anything
pkg: package where node is located
type: node type – must be corresponding executable with same name

here the executable is move_group_interface_tutorial.cpp - for c++ files, the .cpp doesnt seem to need to be added. .py needs to be added if using a python executable
^ this is actually due to a line in the Cmakelists file: add_executable(move_group_interface_tutorial src/move_group_interface_tutorial.cpp)

respawn: if true restart node automatically if it quits
output: log or screen

Desired graph

Created motion_planning package
- roslaunch motion_planning basic_movement.launch
- using basic_movement.launch to test basic movements of robot controlled using c++

Modify move_group_interface_tutorial.cpp to interface with ur5 robot

Problem 1: Change panda_arm to ur5
- current planning group is panda_arm which is defined in the rviz launch.
- panda_arm is defined in panda_arm.xacro
- panda_arm.xacro is used to load URDF (universal robot description format) in planning_context.launch
- planning_context.launch is run by the demo.launch file used to launch the robot in move_group_interface tutorial
- Current launch file for motion_planning loads hardware interface through ur_modern_driver package with ur_driver executable that runs ros_main.cpp
- planning group name for ur5 determined to be “manipulator” as defined in catkin_cb2/src/universal_robot/ur5_moveit_config/config/ur5.srdf
- static const std::string PLANNING_GROUP = "manipulator";
- ^ allows for planning group to be changed to our ur5 robot
- solved

Problem 2: Topic '/rviz_visual_tools' unable to connect to any subscribers within 0.5 sec
- You need to add the rviz display plugin "Markers" to rviz and set it to "/rviz_visual_tools". that warning is to let you know you haven't connected the output to anything.
  - https://github.com/davetcoleman/moveit_simple_grasps/issues/17
- tutorial initializes a marker array subscribed to /rviz_visual_tools

Days Progress
Successfully moved physical robot using coordinates inputted into c++ script.

Next Steps
Program talker and listener into robot motion script so that talker gives coordinate information to listener which moves robot to that point.

March 31

Combing ArucoROS TFs with UR5
- Tried manually multiplying matrices but tf::StampedTransform and tf::Transform dont multiply
- Going to make broadcaster to find transformation between target and base
  - need to put arucoros frames into same tree as ur5 frames
- Added broadcaster to basic_movement.cpp
- Now in rviz can see the marker frame
  - Need to add arucoros image – added manually to rviz and saved rviz configuration in moveit.rviz
basic movement now moves to arucoROS marker

April 5

Combined camera launch and ArucoROS into one launch file
roslaunch motion_planning robot_camera.launch

Added Translational Wobble
- roslaunch motion_planning translational_wobble.launch
- “Wobbles” in x-y plane, and returns to higher position
April 8

Notes when running movement launches
- make sure planning group is manipulator
- load obstacles
- set planning algorithm to PRM

April 14

Real Time Planning
- while loop continuously updating tag position
- working, but tag not always in camera FOV
Rotational Wobble
- Added new joint for probe
- New ur5_robot.urdf.xacro
<?xml version="1.0"?>
<robot xmlns:xacro="http://wiki.ros.org/xacro"
name="ur5" >

<xacro:arg name="transmission_hw_interface" default="hardware_interface/PositionJointInterface"/>

<!-- common stuff -->
<xacro:include filename="$(find ur_description)/urdf/common.gazebo.xacro" />

<!-- ur5 -->
<xacro:include filename="$(find ur_description)/urdf/ur5.urdf.xacro" />

<!-- arm -->
<xacro:ur5_robot prefix="" joint_limited="false"
transmission_hw_interface="$(arg transmission_hw_interface)"
/>

<link name="world" />

<joint name="world_joint" type="fixed">
<parent link="world" />
<child link = "base_link" />
<origin xyz="0.0 0.0 0.72" rpy="2.35 0.0 3.14" />
</joint>

<link name="probe"/>
<joint name="probe_joint" type="fixed">
<parent link="ee_link" />
<child link = "probe" />
<origin xyz="0.26 0.0 0.0" rpy="0.0 0.0 0.0" />
</joint>

</robot>

April 19 2021

Implemented Rotational Wobble
- rotational_wobble.launch
- rotaitonal_wobble.cpp
- rotates by 30 degrees and -30 degrees about the z axis
- uses Eigen library to calculate rotations
- changed probe orientation in ur5_robot.urdf.xacro to match ultrasound probe configuration
  - <link name="probe"/>
  - <joint name="probe_joint" type="fixed">
  - <parent link="ee_link" />
  - <child link = "probe" />
  - <origin xyz="0.26 0.0 0.0" rpy="0.52359877559 0.0 0.0" />
  - </joint>

April 21, 2022

Initial Position
FOV: 30x25cm
Probe Position
X: 0.191656
Y: 0.742496
Z: 0.579901
Probe Orientation
X: 0.219516
Y: 0.718178
Z: -0.192821
W: 0.631548

Conducted US Calibration
- Save png files and updated matlab code to read quaternions
- results were very close to our manual calibration
- 10 train, 5 test

Connecting to Ultrasonix
- change ip address on Ultrasonix to 172.22.22.3 to connect with laptop (172.22.22.1)
- Next steps is to set up Ulterius and capture US data
 <origin xyz="0.262 0.0 0.0" rpy="0.52359877559 0.0 0.0" />

April 26

Ultrasound Calibration
Collected 50 additional poses for ultrasound calibration

Force Torque Based Movement
- moves until a certain force is exerted upon patient
- force_sensor_integration.launch
- uses robotiq_ft_sensor library
- install
  - git clone https://github.com/ros-industrial/robotiq.git
  - remove all folders except robotiq_ft_sensor
  - sudo usermod -a -G dialout <USERNAME>
  - restart computer
  - roscore
  - rosrun robotiq_ft_sensor rq_sensor
  - roslaunch force_sensor_integration.launch

Stable Wobble
- initial wobble has a dip in z due to only start and end positions inputted
- fixed this by incrementally wobbling to 30 degrees by increments of 3 degrees
- future work could implement this as a path constraint for smoother wobble